## Cost Summary
Item | Base requirements | Spares | Total | Unit Cost | Extended | Cost Col | Total Row | Total Cost Cell
Greenhouse Sensor | 4 | 1 | 5 | 167.95 | 839.75 | 9 | 9 | 'Greenhouse Sensor'!$I$9
Seaweed Sensor | 2 | 1 | 3 | 109.95 | 329.85 | 9 | 7 | 'Seaweed Sensor'!$I$7
Mushroom Sensor | 2 | 1 | 3 | 149.95 | 449.85 | 9 | 6 | 'Mushroom Sensor'!$I$6
MultiTech Conduit Gateway | 1 |  |  | 500 | 500
UPS (power supply) | 0 |  |  | 50 | 0
Shipping |  |  |  |  | 100
TOTAL |  |  |  |  | 2219.45

## Stephenson Screen
It looks as if fabricating our own Stephenson Screens for sensors works
http://www.loganvillageweather.com/station/stevenson.html | This has detailed instructions, but rubbish about lids with lips; no need to buy them or deal with them
http://www.instructables.com/id/How-To-Build-Your-Own-Outdoor-Pagoda-for-Weather-/ | These show better, lipless lids, but not as much info about how to do it.

## Greenhouse Sensor
`
Qty | Description | Vendor | Model | Part number | URL | Unit price | Cost | Air temp | Air RH | Lux | Soil Hum | Water Temp | Water N | Baro Pres
1 | Basic Feather M0 Sensor | MCCI | 4501 |  |  | 75 | 75 | x | x | x | - | - | - | x
1 | Soil sensor | Adafruit |  | 1298 | https://www.adafruit.com/products/1298 | 49.95 | 49.95 | - | - | - | x | - | - | -
1 | Remote light sensor? | TBD |  |  |  | 10 | 10
1 | Solar charger | ALLPOWERS |  |  |  | 8 | 8
0 | Homebrew Stephenson Screen |  |  |  |  | 0 | 0 | - | - | - | - | - | - | -
1 | Enclosure |  |  |  |  | 25 | 25
TOTAL | [6 empty] | 167.95

## Seaweed Sensor
Qty | Description | Vendor | Model | Part number | URL | Unit price | Cost | Air temp | Air RH | Lux | Soil Hum | Water Temp | Water N | Baro Pres
1 | Basic Feather M0 Sensor | MCCI | 4501 |  |  | 75 | 75 | x | x | x |  |  |  | x
1 | Dissolved nitrogen sensor | TBD |  |  |  | 0 | 0 | [5 empty] | x
1 | Temperature Sensor - Waterproof | Adafruit |  | 381 | https://www.adafruit.com/products/381 | 9.95 | 9.95 |  |  |  |  | x
1 | Enclosure (budget) | TBD |  |  |  | 25 | 25
TOTAL | [6 empty] | 109.95
Notes | Use USB power adapter (supplied in Taiwan)

## Mushroom Sensor
Qty | Description | Vendor | Model | Part number | URL | Unit price | Cost | Air temp | Air RH | Lux | Soil Hum | Water Temp | Water N | Baro Pres
1 | Basic Feather M0 Sensor | MCCI | 4501 |  |  | 75 | 75 | x | x | x | - | - | - | x
1 | Soil sensor | Adafruit |  | 1298 | https://www.adafruit.com/products/1298 | 49.95 | 49.95 | - | - | - | x | - | - | -
1 | Enclosure (budget) |  |  |  |  | 25 | 25 | - | - | - | - | - | - | -
TOTAL | [6 empty] | 149.95
Note | Power will be provided via USB cable and charger sourced in Taiwan

## Lux Transducer
Lux Transducer
Need to encapsulate and still get wires out.
Epoxy will probably be too brittle.
Ref | http://www.electrolube.com/pdf/encapsulation-resins-brochure-electrolube.pdf
http://www.epicresins.com/LEDEncapsulants/PottingCompoundBrochure
Li-Cor sensors are awesome but… $500-ish
https://www.licor.com/env/products/light/quantum.html

## Network Diagram
Router/Firewall (optional but recommended)
Conduit
Ethernet
Local laptops for data display
Wi-Fi
GH 1
GH 2
GH 3
GH 4
S 1
S 2
M 1
M 2
The Things Network infrastructure
Cloud-based server
Node-Red instance for processing sensor data
Sensor database (Influx)
Dashboard app
Off-site laptops for data display
Internet

## Pond Sensor
Qty | Description | Vendor | Model | Part number | URL | Unit price | Cost | Air temp | Air RH | Lux | Soil Hum | Water Temp | Water N | Baro Pres
1 | Basic Feather M0 Sensor | MCCI |  |  |  | 75 | 75
0 | Temperature Sensor - Waterproof | Sparkfun | SEN-11050 |  | https://www.sparkfun.com/products/11050 |  | 0
1 | Temperature Sensor - Waterproof | Adafruit |  | 381 | https://www.adafruit.com/products/381 | 9.95 | 9.95
1 | Homebrew Pagoda |  |  |  |  | 50 | 50
TOTAL | [6 empty] | 134.95

## Schedule
Event | Date | Who | Notes | 2016-10-03 | 2016-10-10 | 2016-10-17 | 2016-10-24 | 2016-10-31 | 2016-11-07 | 2016-11-14 | 2016-11-21
Today | 2016-10-08 | bar: 2016-10-03
Purchase at MCCI store | 2016-10-08 | Amy | bar: 2016-10-03
Electronics orderred | 2016-10-08 | Terry | bar: 2016-10-03
Spectrum info | 2016-10-08 | Amy | bar: 2016-10-03
Email address to Terry | 2016-10-08 | Josh | bar: 2016-10-03
Ship first sensor to Josh | 2016-10-12 | Terry | bar: 2016-10-10
All material in | 2016-10-15 | Terry | bar: 2016-10-10
Sensors built | 2016-10-15 | Terry | bar: 2016-10-10
Full electrical diagrams for all three sensors | 2016-10-15 | Terry | bar: 2016-10-10
IT details | 2016-10-15 | Amy | bar: 2016-10-10
Carry first unit to Taiwan | 2016-10-17 | Josh | bar: 2016-10-17
Enclosure decisions | 2016-10-22 | Amy | bar: 2016-10-17
Details about sensor specifications and capabilities | 2016-10-24 | Terry | bar: 2016-10-24
Software for sensors ready | 2016-10-29 | Terry | bar: 2016-10-24
Conduit configured | 2016-10-29 | Terry | bar: 2016-10-24
Ready to ship from Ithaca | 2016-10-31 | Terry | Try to pull this in if possible | bar: 2016-10-31
Details about software dashboard capabilities | 2016-10-31 | Terry | bar: 2016-10-31
Delivered to Taiwan | 2016-11-03 | Fedex | bar: 2016-10-31
Ready to print materials | 2016-11-10 | Amy | bar: 2016-11-07
Installation complete | 2016-11-20 | Amy | bar: 2016-11-14
System test begin | 2016-11-14 | Amy | bar: 2016-11-14
Target launch | 2016-11-18 | Amy | bar: 2016-11-14
Formulas:
Date = [Date, row above]+3